## Home
Port | Leak Def | Tank Capacity (L) | Expiry Date | Lot No. | Actual Conc (ppm) | Measured Conc (ppm) | Selected | Status
0 | 0 | 103 | 2024-12-31 | 9854 | 0 | Empty at home |  | Done
1 | 100 | 103 | 2025-01-01 |  | 998
2 | 500
3 | 1000
4 | 2000
5 | 5000
6 | 10000
Note: | Don't show if not selected
Note: Colum B is Drop down Menu

## Edit Home
Port | Leak Def | Tank Capacity (L) | Expiry Date | Lot No. | Actual Conc (ppm) | Calibration tolerance (%) | Selected
0 | 0 | 103 | 2024-12-31 | 9854 | 0
1 | 100 | 103 | 2025-01-01 |  | 998
2 | 500
3 | 1000
4 | 2000
5 | 5000
6 | 10000
Note: | Tank Capacity Drop down menu
Note: Colum B is Drop down Menu

## Calibration
Port | Leak Def | Tank Capacity (L) | Expiry Date | Lot No. | Actual Conc (ppm) | Measured Conc (ppm) | Selected | Status
0 | 0 | 103 | 2024-12-31 | 9854 | 0 | Empty at home |  | Pass
1 | 100 | 103 | 2025-01-01 |  | 998 |  |  | Fail
2 | 500
3 | 1000
4 | 2000
5 | 5000
6 | 10000
Note: Colum B is Drop down Menu

## Drift
Port | Leak Def | Concentration (ppm) | Date | Time zero | Conc (ppm) | Date | Time | Conc(ppm) | Drift (%) | Select
0 | 0 | 0 | Todays Date | Time of calib | Calibrated Conc | Date of Drift | Drift meas time | Measured now | (measured-calibrated)/calibratedx100
1 | 100 | 998 | 2024-03-07 | 9:00 | 985 | 2024-03-07 | 16:00 | 950 | -3.5533
2 | 500
3 | 1000
4 | 2000
5 | 5000
6 | 10000
Note: Colum B is Drop down Menu

## Precision
Port | Leak Def | Concentration (ppm) | Date | Time zero | Measurement1 (ppm) | Measurement2(ppm) | Measurement3(ppm) | Precision (%) | Select
0 | 0 | 0 | Todays Date | Time of meas |  |  |  | average(abs(meas1-conc),abs(meas2-conc),abs(meas3-conc))/concx100
1 | 100 | 998 | 2024-03-07 | 9:00 | 985 | 965 | 1005 | 1.7702
2 | 500
3 | 1000
4 | 2000
5 | 5000
6 | 10000
Note: Colum B is Drop down Menu

## Leak Def
Leak Definition
100
200
500
1000
2000
5000
10000
25000